MELAMINE RESIDUES IN PET FOOD – PRELIMINARY REPORT

*1Iffat Tahira, 1Nighat Sultana, 1Nafeesa Qudsia Hanif, 2Ghulam Muhammad

1Romer Labs, Pakistan Rawalpindi; 2Department of Clinical Medicine and Surgery, University of Faisalabad – Faisalabad

Running  Title:  melamine residues in pet food

*Corresponding Author:	Iffat Tahira

Mailing Address:	Romer Labs, Pakistan

Flat 8, Satellite Plaza, 1st Floor

71-A, 6th Road Rawalpindi – Pakistan

Tel No.:		92-51-4420416, 4421339

Fax No.:		92-51-4424341

E-mail:		iffatdescent@yahoo.com

Table 1: Scenario of Melamine contamination in collected pet food samples.

Figure1: Chemical Structure of Melamine

Figure 2: Linear regression equation for melamine spiked samples of solid and semi- solid pet food samples

Figure 3:  Frequency Distribution of melamine (mg/kg) residue in collected dog and cat food samples.

ABSTRACT

Eighty-four commercially available pet food samples including cat food (solid, n=38; semi-solid, n=17) and dog food (solid, n=20; semi-solid, n=09) were analyzed for melamine residues by competitive enzyme linked Immunosorbent assay. Among solid cat food, 78.94 percent (n=30) were contaminated with mean level 14.43±1.27 (range >4-68 mg/kg) of melamine.  While 82.35 percent samples of semi solid cat food (n=14) were found positive for melamine residue with mean value 6.43± 1.96 (range >2-13.14mg/kg).  Similarly, 75 percent samples of Solid dog food (n=15) were positive for melamine residues with mean value 8.50±1.73 mg/kg (range >4-49mg/kg). A total of 44.44 percent samples of semi solid dog food were positive for melamine with mean value 16.31± 1.64 and observed range was >2-34.25mg/kg.   Out of all positive samples, 53 percent samples of pet food were contaminated beyond the Codex Alimentarius Commission (i.e. 2.5mg/kg).  Analytical data showed existence of melamine residues in imported pet food.

Key words: Cat, dog, nephrotoxicity, CAC

INTRODUCTION

Animal feed safety issue has gained great importance during passing few decades due to commercialization and rapid growth of animals industry.  Among animals industry, pet industry is flourishing exponentially because of their companionship with human beings particularly in western world.  Pets are important not only for their loyal or playful characteristics but also seem to provide their owners with significant health benefits.  In the past, pets are usually raised upon wastes/remaining foods used by their owners.  Later, for nutritionally balanced food requirement, formal pet food industry came into existence and now wide range of brands are available in market according to age and species of pets and being exported throughout the world.  Pet food is usually prepared by using different ingredients i.e. cereals (corn, wheat gluten, corn gluten and rice protein) and meat portion. Sometime to elevate the apparent protein content, pet food’s ingredients particularly grains protein including, corn gluten and wheat gluten is adulterated with cheaper non protein nitrogen sources i.e. urea , cyanuric acid, ammelide, ammeline and melamine and its analogues (Brown et al., 2007; Lang et al., 2007).

Melamine or 1,3,5-triazine-2,4,6-triamine is an organic base with chemical formulae (C3H6N6). It is extensively used in plastic (Anderson, 1995; Well and Choudhry., 1995) and in fertilizer industry due to its high nitrogen content (Gonzalez et al., 2009: Subrayan et al., 1995). Anthony et al., (2009) stated that melamine contains 66 percent of nitrogen by mass (Figure 1).  Melamine was considered to be non-toxic due to the reason that it is water soluble and efficiently (upto 90%) eliminated by kidneys within 24 hours (Thompson et al., 2008; Mast et al., 1983).  The potential toxicity of melamine was taken into account seriously after consecutive outbreaks of pet’s renal failure and associated deaths in Taiwan and United States in 2004 and 2007.  The recalls in North America, Europe and South Africa came in response to reports of kidney failure in pets. The analysis of suspected food and pathological studies of  kidneys of dead animals, it was identified that melamine is underlying cause of these out breaks (Brown et al., 2007; Chen et al.,2009; Osborne et al., 2009).  Several Chinese companies sold products claimed to be wheat gluten, rice protein or corn gluten, but which proved to be wheat flour adulterated with melamine, cyanuric acid, and other contaminants.  Melamine in combination with cyanuric acid becomes more toxic as compared to either melamine or cyanuric acid alone (Thompson et al., 2008; Yhee et al., 2009).  It can be precipitate in distal renal tubules and collecting ducts of kidney and chronic interstitial nephritis in animals and human beings (Puschner et al., 2007; Bhalla et al., 2009).   In Pakistan, pet food is usually imports from Europe.  As an emerging issue (melamine outbreaks), data regarding melamine residues in pet food is missing link in Pakistan.  In view of foregoing, a preliminary study was planned to assess the residue melamine in imported pet food marketed in Pakistan.

MATERIALS AND METHODS

Sampling & sample preparation

Eighty-four commercially available pet food samples including cat food (solid, n=38; semi-solid, n=17) and dog food (solid, n=20; semi-solid, n=09) were collected from departmental stores of local market during a period of June 2011 to August 2011.  The origin of pet food samples were EU, UK and Korea.  Samples were stored at 4 °C till further analysis.  Direct competitive ELISA kit (AgraQuant® Romer, Singapore) was used for the determination of melamine residues.  For analysis, 2gm of homogenized pet food samples were mixed with methanol: water (1:9; v/v) and vortexed vigorously for two minutes. The sample extracts were then filtered by using 0.45µm syringe filter (MiniSart® Germany). Filtrate was diluted with diluent solution. Dilution factor for Solid and semi solid food were 100x and 200x respectively as per instructed by ELISA Kit.

A 150µl of standard solutions and extracted samples were added to antibody coated wells of microtitre plate. Then 50 µl of conjugate (horseradish peroxidase) was added to each well at same time by using multichannel pipette, gently mixed three times and incubated for 30 minutes at 25°C.  On completion of incubation, unbound conjugate was washed out during three times washing with deionized water.  Once washed, the water in the wells was removed but tapping the plate onto absorbent paper. Then, 100µl of substrate was added to each well and again incubated at 25°C for half hour.  Finally, stop solution (1M H2SO4) was added and absorbance was read at 450nm. Optical density (OD) values were recorded by using BioTek ® ELISA Reader Elx808 (BioTek®, USA).  The OD data was computed by using BioTek® Gen5 software (BioTek®, USA) for melamine quantification.  Limit of detection for semi solid is 2-50mg/kg and 4-100mg/kg for dry pet food.

Calibration curve was drawn by using linear regression equation of expected versus observed melamine.  Recoveries for spiked pet food samples i.e. Semi solid and solid ranging from 0 to 3000ppb, showed good linearity i.e. R2 0.993 (solid) and 0.996 (semisolid) respectively (Figure 2).  For descriptive statistics, data was analyzed by using SPSS16 Software.

RESULTS AND DISCUSSION

A total of seventy five percent pet food samples (n=63) were found positive for melamine ranging from >2- 68mg/kg).   Detailed results of all collected samples including cat (solid, n=38; semi-solid, n=17) and dog food (solid, n=20; semi-solid, n=09) samples are summarized in Table 1.  Among solid cat food, 78.94 percent samples were contaminated with mean level i.e. 14.43 ± 1.27 (ranging from >4 to 68 mg/kg) of melamine. Out of these, all samples were contaminated with melamine residues beyond the regulatory limits i.e. 2.5mg/kg (CAC, 2010).  Similarly, semi-solid samples, 82.35 percent were positive for melamine ranging from >2 to 13.14mg/kg with mean level 6.43±1.96mg/kg.  Out of these positive samples, 64.28 percent were fall in safe range while 35.72 percent samples contaminated with higher melamine levels than 2.5mg/kg (CAC, 2010).

As far as, dog food samples are concerned, 75 percent of solid dog food found to be contaminated with melamine with an average of 8.50±1.73mg/kg with a range >4-49mg/kg i.e. beyond the regulatory limits.  Similarly, 44.44 percent semi-solid samples were positive for melamine with mean i.e. 16.31±1.64 ranging from >2-34.25 /kg.  Among these positive samples, 25 percent were fall in safe range, while 75percent samples contaminated with higher melamine levels CAC limits i.e. 2.5mg/kg (Table 1). Data was further computed for frequency distribution of melamine in dogs and cat foods. Highest percentage of positive samples were found in the range of >5-10mg/kg followed >20- 40mg/kg respectively Figure 3.

Basically, melamine is a plastic polymer, having no nutritional value but added to food to boost the apparent nitrogen content. It is water soluble and efficiently excreted via kidneys within 24 hours (Brown et al., 2007). It was considered that, it is not injurious to biological system because of its water soluble nature as kidneys filters the water soluble compounds (Thompson et al., 2008). This concept was totally revolutionized after major outbreak of nephrotoxic renal failure in dogs and cats in Taiwan and USA (Burns, 2007; Dobson et al., 2008; Chen et al., 2009; Nilubol et al., 2009).  In fact, melamine does not exhibit systematic toxicity individually, but able to complex with other substances such as endogenous uric acid or cyanuric acid to form crystal in the urine which cause kidney damage (Puschner et al., 2007).  An outbreak occurred in Italy as a result of constant exposure to high levels (i.e. 158.5 and 766.8mg/kg melamine) in pet food resulting in nephrotoxicity in canine i.e. cats and dogs (Cocchi et al., 2009).  Since then, many pathological studies were carried out to explain the mechanism of melamine toxicity and its threshold levels for toxicity particularly in pets.  Pathological studies of kidney of those affected/ died dogs and cats identified crystals of calcium oxalate and ammonium urate in the distal tubules and yellow discoloration of inner part of medulla with deposition of yellow green crystals in pelvic tubes (Cocchi et al., 2009).

Pathological studies explained that only melamine does not cause toxicity even at a level of 181mg/kg (Puchner et al., 2007).  In fact, concurrent administration of melamine and cyanuric acids results in acute toxicity due to the formation of insoluble product i.e. melamine cyanourate at low pH i.e. 5.8. (Bhalla et al., 2009; Cianciolo et al., 2008). The general range of urine pH of cats & dogs is 5.5-7.0 depending upon the nature of diet.  It is usually more inclined towards acidic values.   Therefore, low urinary pH is a contributing risk factor for crystals formation in kidneys (Cocchi et al., 2009). Highest level (68mg/kg) observed in present study showed a constant dietary exposure to melamine may cause stones formation and increases the incidence of urinary bladder in pets particularly males cats (Puchner et al., 2007).   In present study, all samples were of imported brands and the countries of origin were supposed to be pioneers for declaring stringent legislations (i.e. EU & UK for melamine in infants and pet foods).  However, these residual levels might be due to plastic packing materials leaching.  Luden and Petersen (2006) reported that continuous melamine migration can occur throughout the lifetime of the product when it is exposed to hot acidic foods. Furthermore, pH of present collected solid pet food samples were 5.8-6.4 whereas, pH of semisolid was 5.95- 6.8. Samples collection during warm climate (i.e. June to August, 2011) might be the reason for the melamine existence in pet food samples.  During these month temperature ranged between 44 to 48°C of Pakistan.  Hence, melamine can be leached out from plastic packings to pet food due to improper storage, direct exposure to heat/sunlight and transportation. (Bradely et al., 2005; Ludn & Petersen, 2006).

.  	In conclusion, data of present study revealed the presence of melamine residues in imported pet food and found beyond the legislative limits.   Findings of present study may be used as preliminary information to plan further studies/biological trials by keeping in view of other melamine related chemical compounds particularly cyanuric acid.

REFERENCES

Anderson FA, (1995). Final report on the safety assessment of melamine/formaldehyde resin. J.of Amer. Colg. of toxicol.. 14: 373–385.

Anthony KCH, Tze H K, Philip K T L ( 2009). Melamine Toxicity and the Kidney.  J. American Society of  Nephr. 20,  245-250.

Brown, C. A.; Jeong, K. S.; Poppenga, R. H.; Puchner, B.; Miller, D.M.; Ellis, A. E.; Kang, K.I.; Su, S.; Cistola, A. M.; Brown, S. A., 2007: Outbreak of renal failure associated with melamine and cyanuric acid in dogs and cats in 2004 and 2007. Vet. Diagnos. Invest. 19: 525-531.

Bhalla V, Grimm PC, Pao AC (2009) Melamine nephrotoxicity ; an emerging epidemic in an era of globalization. Kidney Intern. 75: 774-779.

Bradely EL, Boughtflower V, Smith TL, Speck DR, Castle L (2005).  Food Add.  and contaminat.  2: 597-606.

Burn K (2007). Recall shines spotlight on pet food. American Vet. Med. Assoc.  230: 1285-1288.

Cocchi M, Vascellari M, Gallina A, Agnoletti F, Angeletti R, Mutinelli F (2009). Canine Nephrotoxicosis induced by melamine-contaminated pet food in Italy. Vet. Med. Sci. 72:103-107.

Cianciolo RE, Bischoff K, Ebel JG, Van Winkle TJ,  Goldstein R.E,  Serfilippi LM (2008). Clinicopathologic, histologic, and toxicologic with melamine and cyanuric acid. Journal American Vet.  Med. Assoc. 233: 729-37.

Chen KC, Chen-Wel L, Fen-Pano C, Hi-hen C, Shin-Chien C, Jhaol-Huei, jyh-Mynng Z, Yng-tay C, Jiunn-Wang L (2009). Evaluation of sub chronic toxicity of pet food contaminated with melamine and cyano-uric acid in rats. Toxico Pathol.  37: 959-968.

Codex Alimentarius Commission.(2010).  http://www.foodproductdesign.com/news/2010/07/codex-sets-international-melamine-levels.aspx (visited on 28-09-2011).

Dobson RL, Modagh S, Quijam M, Cambron RT, Baker TR, Pullen AM, Regg, BT,  Bigalow – Kern AS, Vennar T,  Fix A,  Reimschuesse  R, Overmann G, ShanY,  Daston, GP (2008). Identification and characterization of toxicity of contaminated pet food leading to out breakout of renal toxicity in dogs and cats. Toxicol. Sci. 106: 251-262.

Gonzalez J, Birgit P, Valetin P, Maria C (2009). Nephrotoxicosis in Iberian piglets subsequent to exposure to melamine and derivatives in Spain between 2003 and 2006. Vet. Diagn Invest. 21: 558-563.

Ludn KH, Petersen JH (2006). Migration of formaldehyde and melamine monomers from kitchen- and tableware made of melamine plastic.   Food Add.  and contaminat. 23, 948-955

Lang L (2007). FDA issues statement on diethyllene glycol and melamine and melamine, adenine and formoguanamine. Gasteroenterology, 133: 5-6.

Mast RW. Jeffcoat AR, Sadler BM, Kraska RC, Friedman MA (1983).  Metabolism, disposition and excretion of [14C]melamine in male Fischer 344 rats. Food Chem. Toxicol. 21: 807-810.

Nilubol D, Pattanaseth T, Boonsri K,  Pirarat N,  Leeipatiboon N (2009).  Melamine and cyanuric acid – associated renal failure in pigs in Thailand. Vet.  Pathol.  46: 1156-1159.

Osborne CA, Lulich JP,  Ulrich l k, Koehler LA, Albasan H,  Sauer L, Schubert G (2009). Melamine and cyanuric acid induced crystaluria, urolith, and Nephrotoxicity in dogs and cats. Vet Clinic of North Amer.  Small Anim.  Pract.  39: 1-14.

Puschner B. Poppenga RH. Lowenstine, LJ. Filigenzi MS, Pesavento PA (2007). Assessment of melamine and cyanuric acid toxicity in cat. Vet.Diagn. Invest. 19: 616- 624.

Subrayan  RP, Rasmussen PG (1995). An overview of materials composed of carbon and nitrogen. Trends in  Polymer Sci. 3:165–172.

Thompson ME, Lewin–Smith, MR, Kalasinky VF, Pizzolato KM, Fleetwood L, Elhaney R, Johnson TO (2008). Characterization of melamine- containing and calcium oxalate crystal in three dogs with suspected pet food induced nephrotoxicosis. Vet Pathol 45: 417-428.

Well ED, Choudhary V (1995). Flame-retarding plastics and elastomers with melamine. J. of  Fire Sci. 13, 104–126.

Yhee JY, Brown C, Kim JH, Poppenga R,  Sur JH (2009). Retrospective, study of melamine/ cyanuric acid –induced renal failure in dogs in Korea between 2003and 2004. Vetern Pathol. 46, 348-54.

| Pets | Food Type | n | Positive (%) | Mode (mg/kg) | Mean +SE (mg/kg ) | Range (mg/kg ) | <*MRL n (%) | >*MRL n (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cat | Solid | 38 | 30 (78.94) | 4.22 | 14.43+ 1.27 | >4-68 | - | 30 (100) |
|  | Semi Solid | 17 | 14 (82.35) | 5.40 | 6.43+ 1.96 | >2-13.14 | 09 (64.28) | 5 (35.72) |
| Dog | Solid | 20 | 15 (75) | 1.85 | 8.50+1.73 | >4-49 | - | 15(100) |
|  | Semi Solid | 09 | 04 (44.44) | 5.10 | 16.31+ 1.64 | >2-34.25 | 1 (25) | 3 (75) |
| Sub Total |  | 84 | 63 (75) | - | 6.20 ± 0.97 | >2-68 | 10(15.87) | 53 (84.13) |

Table 1: Scenario of Melamine contamination in collected pet food samples.

*MRL- Maximum Residual Level established by CAC, 2010 i.e. 2.5mg/kg.

Figure 1: Chemical Structure of Melamine (Anthony et al., 2009)

Figure 2: Linear regression equation for melamine spiked samples of solid and semi- solid pet food samples

Figure 3:  Frequency Distribution of melamine (mg/kg) residue in collected dog and cat food samples.